## Spec Confirmation
Specification Confirmation
Name of Offeror:
Date of the proposal:
Request for proposal Nº: |  | RFP-GHSC-PSM-TO1-O2-PSA-VSA
Currency of proposal: |  | USD
Validity of the Offer |  | 90 days
Instructions: Please state if and how your proposed product conforms to the specifications. The detailed specifications are carried over from Annex 4 and included below. Offerors shall list product specifications for their offer and assure conformity with the detailed specifications. For instances in which additional detail is required, Offerors are encouraged to utilize the ‘Comments’ column. If Offeror proposes multiple models, please copy columns "D" and "E" to the right.
No. | Category | Specification | Confirm Proposed Model Meets Technical Specifications (describing how it meets specifications) | Comments
1 | Model | Please provide model number and provide an explanation of how and why the proposed oxygen generation plant is well-suited for health care facilities in the listed recipient countries.
Please include the link or attachment to the brochure or standard specification sheets for models proposed.
2 | System overview | Oxygen generator unit with: oxygen analyzer for medical application, oxygen tank (receiver/buffer tank) with bacterial inlet filter.
Oxygen cylinder filling station with booster compressor.
3 | Detailed requirements | Uses pressure swing adsorption (PSA) or vacuum swing adsorption (VSA) technology to produce Medical Grade Oxygen 93, defined by USP as follows: Oxygen produced from air by molecular sieve process. Contains not less than 90.0 % V/V and not more than 96 % O2 V/V, the remainder consists of mostly argon and nitrogen
Provides piped in continuous flow oxygen for healthcare facility.
Generates a minimum 300 LPM +/- 20%.
Capability to fill oxygen cylinders in addition, minimum of 10 cylinders (size H), with high pressure manifold, cylinder connecting hoses and steel rack with safety chains.
Easy to install, preassembled and skid-mounted or containerized.
Feed compressor. Indicate whether compressor(s) are oil free or not.
Oxygen concentration monitor with +/- 1% accuracy.
Continuous display of the oxygen concentration and pressure.
Continuous output flow to cover up specified output.
Continuous output pressure of 300-600 kPa / 3 – 6 bars / 44-87 psi.
A gauge or sensor located between the output oxygen and the line pressure control to monitor the output pressure.
External air dryer with capacity sized to manage compressor output. Indicate whether compressor is oil free or not.
4 | Control panel / user interface | Clearly visible, digital display, in English and/or Spanish, Portuguese, Tajik or French for at least:
Oxygen concentration [%]
Oxygen production trending [Nm3/hour]
Output pressure
System status, including current maintenance need
Cumulative hours of operation (digital or analogue meter)
Audible and visual alarms for:
High temperature
Low/high pressure (ex., output pressure < 3 bar / 44 psi)
Low oxygen concentration (<90%)
Power failure; system failure
Second/reserve source active
Air dryer pressure dew point (>3°C)
5 | Power supply, (*voltage, frequency and plug variations across the countries) | Electrical source requirements: Frequency; Voltage; and Plug type based on country/setting of use as follows:
Afghanistan Frequency 50Hz Voltage 220V Plug Type C/F
Ghana Frequency 50Hz Voltage 230V Plug Type D/G
Haiti Frequency 60Hz Voltage 110V Plug Type A/B
Kenya Frequency 50Hz Voltage 240V Plug Type G
Malawi Frequency 50Hz Voltage 230V Plug Type G
Mozambique Frequency 50Hz Voltage 220V Plug Type C/F/M
Nigeria Frequency 50Hz Voltage 230V Plug Type D/G
Variable Speed Drive, optional
6 | Operational requirements | Capable of supplying the specified oxygen concentration continuously in ambient temperature from 10–40 °C (and in some instances from 40 – 45°C), relative humidity from 15-95%, preferably simultaneously, and elevation from 0 to 1000 m, minimum. Some PSA/VSAs will need to operate at elevations up to 3000 m.
Capable of being stored continuously in ambient temperature from 10–40°C, relative humidity from 15–95%, and elevation from 0 to 1000 m, minimum. Some PSA/VSAs will need storage at elevations up to 3000 m.
7 | Product labeling | Electrical power input requirements (voltage, frequency and socket type)
Manufacturer serial number for tracking/inventory management
Labelling as required to meet U.S./international safety standards for medical O2 systems
Designating required environmental conditions for storage and operation (e.g. temperature, pressure, light, humidity)
8 | Warranty | Bidder to offer standard warranty period and terms, and extended warranty. See warranty tab.
9 | Facility/site requirements | The manufacturer shall perform a risk analysis complying with the requirements of EN ISO 14971 Medical devices; Application of risk management to medical devices, taking into account the device and its installation, control, supervision, and use.
Supplier will be responsible for equipment installation and installation qualification.
Where oxygen 93 is manufactured on site, the supply system shall undergo a formal validation program to demonstrate that it is fit for purpose.
Supplier will be responsible for training staff.
Supplier will be responsible for providing technical support for initial site documentation for regulatory approval.
11 | Additional Specifications | Please provide product data sheets addressing plant and component failure rates.
12 | References | Please provide three (3) references for clients operating the same or similar equipment in any of the listed countries or similar environments.
Reference 1
Point of Contact
Company
Address
Phone Number
Email
Year of Installation and Model Information
Purpose (Medical O2 or Industrial)
Reference 2
Point of Contact
Company
Address
Phone Number
Email
Year of Installation and Model Information
Purpose (Medical O2 or Industrial)
Reference 3
Point of Contact
Company
Address
Phone Number
Email
Year of Installation and Model Information
Purpose (Medical O2 or Industrial)

## Price Quotation
Price Quotation
Name of Offeror:
Date of the proposal:
Request for proposal Nº: |  | RFP-GHSC-PSM-TO1-O2-PSA-VSA
Currency of proposal: |  | USD
Validity of the Offer |  | 90 days
Instructions: Offerors to price DAP, broken out by equipment cost and shipping to each of the eight (8) countries. Please assume delivery to a location in the capital.
Description |  | Supplier Offered Product Name | Supplier Offered Product Details | Manufacturer | Manufacturer Full Address | Point of Shipment | QA Document/Certificate Requirements | Estimated Shipping Weight (kg)- Each line | Estimated Shipping Volume (cbm)- Each line | Lead Time | Describe packaging for shipment (Carton, Box, Pallet, Bales) | GTIN for Product and GLN for Manufacturer | Dangerous Goods/Components (Y/N and Describe) | Description |  | Supplier Offered Product Name | Supplier Offered Product Details | Manufacturer | Manufacturer Full Address | Point of Shipment | QA Document/Certificate Requirements | Estimated Shipping Weight (kg)- Each line | Estimated Shipping Volume (cbm)- Each line | Lead Time | Describe packaging for shipment (Carton, Box, Pallet, Bales) | GTIN for Product and GLN for Manufacturer | Dangerous Goods/Components (Y/N and Describe)
Proposed O2 Generation Plant Model 1 Exclusive of Standard Installation, Training and Commissioning | [13 empty] | Proposed O2 Concentrator Model 2 Exclusive of Standard Installation, Training and Commissioning
Proposed Model - Cost Details and Breakdown | [13 empty] | Proposed Model Cost Details and Breakdown
Description |  | Offeror Response | [11 empty] | Description |  | Offeror Response
|  | Afghanistan | Ghana | Haiti | Kenya | Malawi | Mozambique | Nigeria | Tajikistan | [6 empty] | Afghanistan | Ghana | Haiti | Kenya | Malawi | Mozambique | Nigeria | Tajikistan
Unit Cost (1 Unit) | [13 empty] | Unit Cost (FCA 1 Unit)
Shipping (DAP 1 Unit)
Unit Cost (Discount for 2+ Units) | [13 empty] | Unit Cost (FCA 2-10 Units)
Additional cost for higher elevation locations 0-1000m | [13 empty] | Additional cost for higher elevation locations 0-1000m
Additional cost for higher elevation locations 1001- 2000m | [13 empty] | Additional cost for higher elevation locations 1001- 2000m
Additional cost for higher elevation location 2001-3000m | [13 empty] | Additional cost for higher elevation location 2001-3000m
Additional cost for temperatures higher than 40 degrees Celsius
Standard installation, training and commissioning costs | [13 empty] | Standard installation, training and commissioning costs
Fully burdened labor (daily rate) including travel for nonstandard custom installation costs | [13 empty] | Fully burdened labor (daily rate) including travel for nonstandard custom installation costs
Extended Warranty costs | [13 empty] | Extended Warranty costs
In-Country Product Registration | [13 empty] | In-Country Product registration
Is the Proposed Model Registered in Country (Yes/No) |  | Offeror Response | [11 empty] | Is the Proposed Model Registered in Country (Yes/No) |  | Offeror Response
|  | Afghanistan | Ghana | Haiti | Kenya | Malawi | Mozambique | Nigeria | Tajikistan | [6 empty] | Afghanistan | Ghana | Haiti | Kenya | Malawi | Mozambique | Nigeria | Tajikistan
Language Specifications | [13 empty] | Language Specifications
Leaflet/Label Language (please specify for each focus country) |  | Offeror Response | [11 empty] | Leaflet/Label Language (please specify for each focus country) |  | Offeror Response
|  | Afghanistan (Dari/Pashto) | Ghana (English) | Haiti (Haitian Creole/ French) | Kenya (Swahili/ English) | Malawi (English) | Mozambique (Portuguese) | Nigeria (English) | Tajikistan (Tajik) | [6 empty] | Afghanistan (Dari/Pashto) | Ghana (English) | Haiti (Haitian Creole/ French) | Kenya (Swahili/ English) | Malawi (English) | Mozambique (Portuguese) | Nigeria (English) | Tajikistan (Tajik)
No | Service Level Agreement (This should be described in detail under the Warranty and Services Agreement tab in this Annex) | Yearly Breakdown | Offeror Response | [10 empty] | No | Service Level Agreement (This should be described in detail under the Warranty and Services Agreement tab in this Annex) | Yearly Breakdown | Offeror Response
|  |  | Afghanistan | Ghana | Haiti | Kenya | Malawi | Mozambique | Nigeria | Tajikistan | [6 empty] | Afghanistan | Ghana | Haiti | Kenya | Malawi | Mozambique | Nigeria | Tajikistan
1 | Service Level Agreement inclusive of labor, parts, and travel (24/7 continuous flow of oxygen) | Year 1 | [11 empty] | 1 | Service Level Agreement inclusive of labor, parts, and travel (99% Uptime) | Year 1
|  | Year 2 | [13 empty] | Year 2
|  | Year 3 | [13 empty] | Year 3
Open response: Please include any relevant information regarding your proposed product offering that is not captured above. | [13 empty] | Open response: Please include any relevant information regarding your proposed product offering that is not captured above.

## Installation and Training
Installation and Training
Name of Offeror:
Date of the proposal:
Request for proposal Nº: |  | RFP-GHSC-PSM-TO1-O2-PSA-VSA
Currency of proposal: |  | USD
Validity of the Offer |  | 90 days
Instructions: Please provide additional detail including minimum requirements for unit operation, installation procedure, trainings offered, and specifics related to each of these subjects.
No. | Category | GHSC-PSM Questions | Offeror Response
1 | Pre-Installation Requirements | Manufacturer must explicitly provide the minimum operating requirements within the following aspects of the health facility:
Acceptable mains capacity
Appropriate connections/adaptors.
Compatibility with back-up power supply (e.g. generator).
Infrastructure requirements for outdoor or indoor operation e.g. roofing, ventilation, air conditioning, room and floor load requirements.
Stipulate electrical power requirements for PSA/VSA plant operation (drawing x amps; consuming x watts)
What are the minimum installation requirements for maintaining warranty (e.g. storage, environment, temp., etc.)?
2 | Installation/Commissioning | Describe your installation and commissioning process of a oxygen generation plant. Please provide an attachment or the link here.
Does your authorized local service provider install and commission the plant? If so, please provide details for the local service provider per the cells below.
|  | Name of local service provider and contact information (name, address, phone number, email, website) for each country listed: | Afghanistan | Ghana | Haiti | Kenya | Malawi | Mozambique | Nigeria | Tajikistan
Company Name
Representative Name
Position Title
Address
Phone Number
Email
Website
Length of active relationship with the local service provider. Please indicate if you have not worked with them before.
Please define contractual relationship with local service provider.
Please provide all Original Equipment Manufacturer (OEM) Certifications and additional service and repair capabilities of the local service provider.
Years that the local service provider has been in business.
|  | Please provide three (3) references to assess capability of the local service provider (Point of contact name, company, address, phone number, and email. Please indicate year of installation and model. Was this used for medical O2 or industrial use?) | Afghanistan | Ghana | Haiti | Kenya | Malawi | Mozambique | Nigeria | Tajikistan
Reference 1
Point of Contact
Company
Address
Phone Number
Email
Year of Installation and Model Information
Purpose (Medical O2 or Industrial)
Reference 2
Point of Contact
Company
Address
Phone Number
Email
Year of Installation and Model Information
Purpose (Medical O2 or Industrial)
Reference 3
Point of Contact
Company
Address
Phone Number
Email
Year of Installation and Model Information
Purpose (Medical O2 or Industrial)
3 | Training | Can you conduct trainings in the local language for each country listed (Yes/No and what language)? | Afghanistan (Dari/Pashto) | Ghana (English) | Haiti (Haitian Creole/French) | Kenya (Swahili/English) | Malawi (English) | Mozambique (Portuguese) | Nigeria (English) | Tajikistan (Tajik)
What trainings are included during the installation and commissioning stage?
Provide details on trainings provided including subject(s), duration of training, and format
What additional trainings do you offer?

## Warranty and Service Agreement
Warranty and Service Agreement
Name of Offeror:
Date of the proposal:
Request for proposal Nº: |  | RFP-GHSC-PSM-TO1-O2-PSA-VSA
Currency of proposal: |  | USD
Validity of the Offer |  | 90 days
Instructions: Please provide specifics in response to the questions on warranties and service agreements listed below. Additionally, Offerors shall attach example documents of warranties and service agreements.
No. | Category | GHSC-PSM Questions | Offeror Response by Focus Country
|  |  | Afghanistan | Ghana | Haiti | Kenya | Malawi | Mozambique | Nigeria | Tajikistan
1 | Standard Warranty Terms and Coverage | Bidder to offer standard warranty period and terms. Please provide the full warranty language as an attachment.
How long is the warranty term?
Describe coverage under the warranty.
Describe exclusions under the warranty.
What services do you provide at cost during the warranty term?
What services do you provide at no cost during the warranty term?
Name who will provide service during the warranty period for repairs or breaks. Is this the same service provider named under the installation and training tab in cells D25-30? If not, please provide the service provider's name, representative name, address, phone number, email, website and three (3) references below.
Company Name
Representative Name
Position Title
Address
Phone Number
Email
Website
Reference 1
Point of Contact
Company
Address
Phone Number
Email
Year of Installation and Model Information
Purpose (Medical O2 or Industrial)
Reference 2
Point of Contact
Company
Address
Phone Number
Email
Year of Installation and Model Information
Purpose (Medical O2 or Industrial)
Reference 3
Point of Contact
Company
Address
Phone Number
Email
Year of Installation and Model Information
Purpose (Medical O2 or Industrial)
What parts are replaced at cost?
What parts are replaced at no cost?
State warranty period in years for the following major components and provide any exclusions:
compressors
pressure cylinder
control panel
chillers
O2 analyzer
Enclosure if a containerized option is offered
Any other components with specific warranty
Entire plant (equivalent of bumper to bumper)
2 | Extended Warranty Terms and Services | Bidder to offer extended warranty period and terms. Please provide the full extended warranty language as an attachment.
Manufacturer must propose the maintenance routines and the predetermined system for procuring spare parts that are brand/model related.
How long is the extended warranty term?
Describe coverage under the extended warranty.
Describe exclusions under the extended warranty.
What services do you provide at cost during the warranty term?
What services do you provide at no cost during the warranty term?
State warranty period in years for the following major components and provide any exclusions:
compressors
pressure cylinder
control panel
chillers
O2 analyzer
Enclosure if a containerized option is offered
Any other components with specific warranty
Entire plant (equivalent of bumper to bumper)
3 | Service Level Agreement | Bidder to propose Service Level Agreement consistent with Annex 6.
Describe coverage under the service contract.
Describe exclusions under the service contract.
What services do you provide at cost during the service contract term?
What services do you provide at no cost during the service level agreement term?
What parts are included in the service level agreement?
What parts are not included in the service level agreement?
Confirm spare parts will be available during the lifespan of the plant.
Mechanism/communications protocol for maintenance/repairs to achieve uptime %. Please provide the protocol(s) as an attachment.

## Consumables and Spare Parts (hidden)
Consumables and Spare Parts
Instructions: Please provide detail for consumables and spare parts. For cases in which items are sold separately from the PSA plant itself, Offerors are requested to list the product and price as a separate line item within the Spare Parts/Consumables Price tab.
No. | Category | GHSC-PSM Questions | Offeror Response
| Consumables/Durables | Are consumables/durables packaged with the PSA plant as part of the equipment cost? (Y/N)
Estimated life of supply (months)
Are consumables/durables proprietaryt? (Y/N)
If so, provide detail on proprietary items and prices in the Spare Parts/Consumables Price tab in this Annex.
| Spare Parts | Propose spare parts list per recommended preventative maintenance program clearly defined in a disaggregated list comprising part numbers, descriptions, and unit cost, as well as indicating manufacturer/brand/model specifics (e.g. for circuit breaker, printed circuit board, sieve beds, compressor components, valves, wheels, motor capacitor, analyser, etc.) in the Spare Parts/Consumables Price tab in this Annex. Please also provide the primary source of materials/components, e.g. from EU countries, China, etc. so we can anticipate any supply chain constraints because of the COVID-19 pandemic.

## Spare Parts and Consumables
Spare Parts and Consumables
Name of Offeror:
Date of the proposal:
Request for proposal Nº: |  | RFP-GHSC-PSM-TO1-O2-PSA-VSA
Currency of proposal: |  | USD
Validity of the Offer |  | 90 days
Instructions:
Please provide the information requested below for all consumables and spare parts.
Spare parts and consumables are those recommended by the manufacturer's preventative maintenance program.
No. | Supplier Offered Proprietary Consumables/Spare Parts Name | Supplier Offered Product Details | Supplier Part/Material Number | Proprietary Item (Y/N) | Unit of Measure (UOM) | Price per UOM | Proposed Quantity | Subtotal | Estimated Life of Supply (months) | Packaged with PSA Plant (Y/N) | Primary Source (Country) | Manufacturing Lead Time (weeks) | QA Documentation/Certification (Y/N) | *Pick up Location (Full Address) | *Unit Weight (kg per UOM) | *Total Weight (kg including palletization) | *Unit Volume (M3 per UOM) | *Total Volume (M3 including palletization) | *Pack size Dimensions (LxWxH) by meter | *Name of Manufacturer | *Manufacturing Site Address | *Storage Conditions | *Label Language | *Country of Origin | *Vendor Code/Manufacturer Product ID | *GTIN | *Dangerous Goods/Components- Y/N and Describe | *If product is regulated for transport please provide IMDG/ UNDG code | Stock on Hand (Y/N) | *Promised Shelf Life (At GAD) | Comments